Compo Seal

Yearly MAINTENANCE CHECKLIST

| Work Order No |  | PPM Date |  |
| --- | --- | --- | --- |
| Region |  | Hospital |  |
| Serial No |  | Department |  |

| Action |  | Checked / Done | Remarks |
| --- | --- | --- | --- |
| General checks |  |  |  |
| 1 | Visual inspection: instrument general status. |  |  |
| 2 | Mains Inlet Status |  |  |
| Decontamination & Cleaning |  |  |  |
| 1 | Turn off the instrument, disconnect the power cord. |  |  |
| 2 | If there is spillage, wipe it with disposable absorbent material (for example, paper towels, gauze, or cloth). |  |  |
| 3 | Wipe the entire instrument with disposable towels or cotton balls dipped in a 0.5% (v/v) aqueous solution of sodium hypochlorite |  |  |
| 4 | Rinse the surface with a soft detergent and water to eliminate odors and any residual solution. |  |  |
| 5 | Dry the surface. |  |  |
| 6 | Dispose of contaminated materials used during decontamination in a container for biological waste. |  |  |

| Service Engineer |  |
| --- | --- |